
Intelligent Speed Dome Installation Manual 
Version 3.1.1
Table of Contents

11
INTELLIGENT SPEED DOME INSTALLATION


11.1
Installation Preparation


21.2
Initial Setup


21.3
Installation


21.3.1
Intelligent Speed Dome Installation


31.3.2
Dial Setup for Intelligent Speed Dome (Analog Speed Dome)


31.3.3
Dial Setup for Intelligent Speed Dome (HDCVI Speed Dome)


41.3.4
Install the Transparent Cover


41.3.5
Installation Steps of Wall Mount Bracket for Intelligent Speed Dome


61.3.6
Fix the Speed Dome


61.3.7
Cable Connection


71.4
Dial Switch Setup


81.4.1
Baud Rate and Parity Setup (Analog Speed Dome)


91.4.2
Baud Rate and HD/SD Video Format Setup (HDCVI Speed Dome)


91.4.3
Address Setup


101.4.4
Terminal Matching Resistance Setup


112
BRACKET DIMENSIONS


112.1
Wall Mount Bracket


112.2
Corner Mount Bracket


122.3
Pole Mount Bracket


133
WALL MOUNT BRACKET INSTALLATION


133.1
Component Installation


133.2
Installation


133.2.1
Installation Requirements


133.2.2
Installation Steps


154
CORNER MOUNT BRACKET INSTALLATION


154.1
Component Installation


154.2
Installation


154.2.1
Installation Requirements


154.2.2
Installation Steps


175
POLE MOUNT BRACKET INSTALLATION


175.1
Installation Components


175.2
Installation


175.2.1
Installation Requirements


175.2.2
Installation Steps


196
APPENDIX Ⅰ THUNDER PROOF AND SURGE PROTECTION


207
APPENDIX  Ⅱ ABOUT RS485 BUS


207.1
RS485 Bus Main Feature


207.2
RS485 Bus Transmission Distance


207.3
The Problem in Practical Use


217.4
RS485 Bus FAQ




Welcome
Thank you for purchasing our speed dome!

Please read the following safeguards and warnings carefully before you install or use the product!
Important Safeguards and Warnings 
Safety Measures 

1. Qualified Engineer Needed 

· The installation engineer or maintenance engineer shall have corresponding CCTV system installation certificate or maintenance qualification certificate. 

· The installation engineer or maintenance engineer shall have qualification certificate for work at height. 

· The installation engineer or maintenance engineer shall have the basic knowledge and operation technique for low-voltage cable layout and low-voltage electronic cable connection.

· Please read the installation manual carefully and keep it well for future reference,

· We are not liable for any problems caused by unauthorized modifications or attempted repair.
2. Lifting Appliance Requirement 

· Please select the proper speed dome installation mode and use the lifting appliances at the safety environment.
· The lifting appliances shall have the enough capacity to reach the installation height.

· The lifting appliances shall have safe performance.  
The precaution measures include two types: Warning and Note.

· Warning: It is to alert you there is an optional risk of death or series injury!

· Note: It is to alert you there is an optional risk of damage or property loss!

Warning

1. All installation and operation here should conform to your local electrical safety codes. 
2. The power shall conform to the requirement in the SELV (Safety Extra Low Voltage) and the rated voltage conformed to Limited Power Source according to the IEC60950-1. (Power supply requirement is subject to the device label). We assume no liability or responsibility for all the fires or electrical shock caused by improper handling or installation. 

3. Be sure to use all the accessories (such as power adapter) recommended by manufacturer.

4. Do not connect several speed domes to one power adapter. It may result in overheat or fire if it exceeds the rated load. 

5. Before you connect the cable, install or uninstall, or begin the daily maintenance work, please turn off the power and unplug the power cable. 

6. Please make sure the produce is secure firmly on the wall or the ceiling. 

7. Please turn off the power and unplug the power cable, If there is any smoke, disgusting smell, or noise. Please contact your local retailer or customer service centre for help. 

8. All the examination and repair work should be done by the qualified service engineers.  We are not liable for any problems caused by unauthorized modifications or attempted repair.

Note

1. Safety Transportation 

· Heavy stress, violent vibration or water splash are not allowed during transportation, storage and installation.
· This series product must use split type package during the transportation. 

· We are not liable for any damage or problem resulting from the integrated package during the transportation. 
2. When device is malfunction 

Shut down the device and disconnect the power cable immediately if there is smoke, abnormal smell or abnormal function. Please contact your local retailer ASAP.

3. Do not try to dismantle or modify the device

· There is risk of personal injury or device damage resulting from opening the shell.

· Please contact your local retailer if there is internal setup or maintenance requirement.

· We are not liable for any problems caused by unauthorized modifications or attempted repair.
4. Do not allow other object falling into the device 

· Please make sure there is no metal or inflammable, explosive substance in the speed dome.

· The above mentioned objects in the device may result in fire, short-circuit or damage. 

· Please shut down the device and disconnect the power cable if there is water or liquid falling into the camera. Please contact your local retailer ASAP.

· Please pay attention to the camera. Avoid the sea water or rain to erode the camera. 
5. Handle carefully 

Do not allow this series product fall down to the ground. 

Avoid heavy vibration. 
6. Installation Environment Requirement

· This series speed dome should be installed in a cool, dry place away from direct sunlight, inflammable, explosive substances and etc.
· This series product shall be away from the strong electromagnetism radiant, please keep it away from wireless power, TV transmitter, transformer and etc. 
7. Daily Maintenance 

· Please use the soft cloth to clean dust on the shell, or you can use soft cloth with cleaning liquid to clean the shell and then use soft cloth to make it dry.

· Do not use gasoline, dope thinner or other chemical material to clean the shell. It may result in shell transfiguration or paint flake.

· Do not allow the plastic or rubber material to touch the shell for a long time. It may result in paint flake. 
1 INTELLIGENT SPEED DOME INSTALLATION
1.1 Installation Preparation 

Basic Requirement 

· All installation and operation here should conform to your local electrical safety codes. 
· Before installation, please open the package and check all the components are included. Please make sure the speed dome installation environment and installation mode can meet your requirement. If there is special requirement, please contact your local retailer for more information. 

· We assume no liability or responsibility for all the fires or electrical shock caused by improper handling or installation. 
Check installation space and installation location intension

Please make sure the installation environment has enough space to install the speed dome and its corresponding bracket. 

Please make sure the ceiling, wall and the bracket can support the speed dome and its corresponding installation component. It shall sustain the 8X weight of the speed dome. 
About cable

Please select the cable according to your transmission distance. 

The minimum video coaxial-cable requirement is:

·  75 ohm. 

· Full cable with copper conductor
· 95% knitted copper shield 
	International Model
	Max Distance

(Ft\M)

	RG59/U
	750Ft (229M)

	RG6/U
	1,000Ft (305M)

	RG11/U
	1,500Ft (457M)


Note: The above can be applied to analog speed dome and network speed dome

	International Model
	Max Distance

(M\Ft)

	SYV-75-3
	720P（25fps\30fps)：500M/1640Ft

	
	720P（50fps\60fps)：300M/984Ft

	
	1080P（25fps\30fps):300M/984Ft


Note: The above can be applied to HDCVI speed dome
Set dial switch button 

Set dial switch button according to control protocol and speed dome address. (Please refer to user’s manual for detailed information.)
Please keep all package material well for future use

Please keep speed dome package material well in case you need to send it back to your local retailer or manufacturer for maintenance work. 

Non-original package material may result in device damage during the transportation. 
Check Accessories 

Before the installation, please check the accessories one by one according to the packing list. Please make sure all the components listed are included.

1.2 Initial Setup

The default setup is:

· Address: 1
· Baud rate: 9600
· Party: none
· 120Ω matched resistance: OFF
1.3 Installation 

1.3.1 Intelligent Speed Dome Installation 

Note

Installation here includes intelligent analog speed dome, intelligent network speed dome, intelligent auto-tracking speed dome and etc. 

1).The speed dome has several types of installation brackets. You can refer to the chapter 3 to chapter 5 for detailed information. Here we are going to install the speed dome with wall mount bracket. 

2).Remove the package and then take out the device. Open the transparent cover and take out the packing material EPE around the speed dome module. Please remove the protective paster from the module and take off the camera lens cap. See Figure 1-1.
[image: image1.jpg]



Figure 1‑1
1.3.2 Dial Setup for Intelligent Speed Dome (Analog Speed Dome)

It is to set the intelligent speed dome address, Baud rate and etc. There are two dial switches which are used to set the address, baud rate, and etc. See Figure 1-2 for more details. Please refer to chapter 1.4 for detailed information about dial switch setup. 

[image: image2.jpg]



Figure 1‑2
1.3.3 Dial Setup for Intelligent Speed Dome (HDCVI Speed Dome)
It is to set the intelligent speed dome address, Baud rate and etc. There are two dial switches which are used to set the address, baud rate, and etc. See Figure 1-3 for more details. Please refer to chapter 1.4 for detailed information about dial switch setup. 

[image: image3.jpg]



Figure 1-3

1.3.4 Install the Transparent Cover 

1. Please connect the steel wire of the bracket to the corresponding hook of the bracket. Please note you need to check whether the steel wire of the bracket is firmly secure or not. 

2. Please line up the captive screws to the quadrate groove of the bracket and then push the bracket into the internal enclosure. Fix these two captive screws. See Figure 1‑4.

[image: image4.jpg]Captive Screw

Bracket Steel Wire. Bracket Square

Bracket Seal Ring Groove

Captive Screw’ Captive Screw




Figure 1‑4

1.3.5 Installation Steps of Wall Mount Bracket for Intelligent Speed Dome 

Step 1 

Pull the composition cable of the intelligent speed through the other end of the wall mount bracket via the end of column of the wall mount bracket. See Figure 1-5. 

Step 2 

Line up the straight line marginal of the wall mount bracket to the straight line marginal of the internal enclosure of the intelligent speed dome.  Push the intelligent speed dome to the wall mount bracket along the straight line marginal. See Figure 1-5. 

[image: image5.jpg]« Straight line marginal of
the wall mount bracket

Straight line marginal of the internal
enclosure of the intelligent speed dome

Intelligent speed dome
composition cable





Figure 1-5

Step 3 

Use the hex wrench to turn the M6*16 inner hex stainless screw of the wall mount bracket to the Ф6.5 round hole bottom of straight line marginal of speed dome internal enclosure. Please note, the step here is very important. Please make sure the screw is completely turned into the bottom of the Ф6.5 round hole. Otherwise there is falling risk of intelligent speed. See Figure 1-6 and 1-7 for more details. 

[image: image6.jpg]M6*16 inner hex stainless screw
with spring washer(Only one)

Intelligent speed dome -

composition cable .
6.5 round hole of the internal

3 _enclosure of the speed dome




Figure 1‑6
[image: image7.jpg]M6*16 inner hex stainless screw
with spring washer(Only one)
Please make sure the screw is
completely turned into the
bottom of the ®6.5 round hole




Figure 1‑7
Step 4 

Use the hex wench to fix the other two M6*10 inner hex stainless screws (with spring washer) of the bracket to secure the speed dome firmly. See Figure 1‑8.

[image: image8.jpg]Two M6*10 inner hex stainless
7 Screw with spring washer

]




Figure 1‑8
Step 5

After the installation; please use the hex wrench to secure the three M6 stainless screws. Please make sure these three M6 stainless screws are firm so that it can secure the speed dome on the wall mount bracket. Otherwise there is falling risk of the speed dome if these three screws are not in the proper position.   
1.3.6 Fix the Speed Dome

1. Please select the installation wall. Please make sure the wall is thick enough to install the expansion bolt. 
2. The wall can at least sustain the 8x weight of the speed dome, bracket and other accessories.
3. Please refer to chapter 3 for detailed information about installation

1.3.7 Cable Connection 

Connect the reserved integration cable of the intelligent speed dome  to the corresponding power cable, video output cable, RS485 control cable, alarm input/output port(if necessary) of the multiple-function composite cable of the quick installation speed dome. Paste the insulating tape in the connection position to do the proper waterproof work. 

Note: 

The video port is covered the heat shrink tube of high shrinking ratio. After the video connection, please heat the tube to make sure the video port is damp proof and water proof. 

The installation of speed dome is completed; see Figure 1-9 for more details.

[image: image9.wmf]
Figure 1‑9
1.4  Dial Switch Setup 
Before you control the speed dome, please set the address, baud rate and parity first so that the speed dome can respond to the control command. See Figure 1‑1.

▲Note：

Open the transparent cover of the speed dome; you can see the dial switch button on the PTZ main board. Please follow the steps listed below to set the baud rate, address, parity or HD/SD video format. After some related information has been reset, users have to cut off the power and reboot the speed dome to activate new setup!
[image: image10.jpg]Baud Rate and

Address Setup
Parity Setup





Figure 1‑10
[image: image11.jpg]Baud Rate and HD/SD
Video Format Setup

Address Setup





Figure 1-11

There are two dial switches on the PTZ of the speed dome which are used to confirm the parameters such as the address, Baud rate and parity. When the button is switched to ON, it is 1. For address dial setup, 1 is the lowest bit and the 8 is the highest bit.  For Baud rate and parity setup, 1 is the lowest bit and 4 is the highest bit. (Intelligent speed dome self-adapt PELCO-D, PELCO-P, industry standard protocol, there is no need to pass dial switch setup for the control protocol).

1.4.1 Baud Rate and Parity Setup (Analog Speed Dome)
It is to set speed dome baud rate and parity. It ranges from 1 to 4. The 1st and the 2nd bit are to set baud rate. The 3rd and the 4th bit are to set parity. See Figure 1‑12.
[image: image12.png]Baud|Parity




Figure 1‑12
Please refer to the baud rate sheet for detailed information.

	1
	2
	Baud Rate

	OFF
	OFF
	9600bps

	ON
	OFF
	4800bps

	OFF
	ON
	2400bps

	ON
	ON
	1200bps


Please refer to the parity setup sheet for detailed information.

	3
	4
	Parity 

	OFF
	OFF
	NONE

	ON
	OFF
	EVEN

	OFF
	ON
	ODD 

	ON
	ON
	NONE


1.4.2 Baud Rate and HD/SD Video Format Setup (HDCVI Speed Dome)

It is to set speed dome baud rate and HD/SD video format. It ranges from 1 to 4. The 1st and the 2nd bit are to set baud rate. The 3rd and the 4th bit are to set HD/SD video format. See Figure 1‑13.
[image: image13.jpg]



Figure 1-13

Please refer to the baud rate sheet for detailed information.

	1
	2
	Baud rate

	OFF
	OFF
	9600bps

	ON
	OFF
	4800bps

	OFF
	ON
	2400bps

	ON
	ON
	1200bps


Please refer to the HD/SD video format setup sheet for detailed information.

	3
	4
	HD/SD video format

	OFF
	OFF
	HD

	ON
	OFF
	SD

	OFF
	ON
	Self-adapt

	ON
	ON
	HD


1.4.3 Address Setup 

Please refer to Figure 1-14 for address setup. The speed dome use dial switch to set address number, encode mode adopts binary coding. Bit 1-8 is valid bit; the highest address bit is 255. 

[image: image14.png]112]13[4(5]|6]7(8

Address




Figure 1‑14
You can refer to the following sheet for more information. 

	Address
	1
	2
	3
	4
	5
	6
	7
	8

	1
	OFF
	OFF
	OFF
	OFF
	OFF
	OFF
	OFF
	OFF

	1
	ON
	OFF
	OFF
	OFF
	OFF
	OFF
	OFF
	OFF

	2
	OFF
	ON
	OFF
	OFF
	OFF
	OFF
	OFF
	OFF

	3
	ON
	ON
	OFF
	OFF
	OFF
	OFF
	OFF
	OFF

	4
	OFF
	OFF
	ON
	OFF
	OFF
	OFF
	OFF
	OFF

	5
	ON
	OFF
	ON
	OFF
	OFF
	OFF
	OFF
	OFF

	6
	OFF
	ON
	ON
	OFF
	OFF
	OFF
	OFF
	OFF

	7
	ON
	ON
	ON
	OFF
	OFF
	OFF
	OFF
	OFF

	8
	OFF
	OFF
	OFF
	ON
	OFF
	OFF
	OFF
	OFF

	……
	…………………………………………………………………

	254
	OFF
	ON
	ON
	ON
	ON
	ON
	ON
	ON

	255
	ON
	ON
	ON
	ON
	ON
	ON
	ON
	ON


1.4.4 Terminal Matching Resistance Setup 

There is terminal resistance 120Ω on the power board. There are two connection modes: See Figure 1‑15.

	
	1-2
	2-3

	120Ω
	ON
	OFF


Figure 1‑15
The factory default connection mode is shown as in Figure 1‑16. Right now, the jumper on the power board (Connection board) is on the pin 2 and pin 3. The 120Ω resistance does not connect to the device. 

[image: image15.png]o

Facotry Default Jump Setup
(120Q Resistance Does Not Connect)




Figure 1‑16
If you want to connect the 120Ω resistance, please remove the jumper from the pin 2 and pin 3 and connect to pin 1 and pin 2. Now the 120Ω is connected to the circuit. See Figure 1‑17.

[image: image16.png]Jumper Setup
(120Q Resistance Connected )




Figure 1‑17
2 BRACKET DIMENSIONS 
2.1 Wall Mount Bracket 

The wall mount bracket dimensions are shown as below. The unit is mm. See Figure 2‑1.
[image: image17.png]



Figure 2‑1
2.2 Corner Mount Bracket 

The corner mount bracket is shown as below. The unit is mm. See Figure 2‑2.
[image: image18.png]| @23

. 4-R25





Figure 2‑2
2.3 Pole Mount Bracket 

The corner mount bracket is shown as below. The unit is mm. See Figure 2‑3.
[image: image19.png]



Figure 2‑3
3 WALL MOUNT BRACKET INSTALLATION 
3.1 Component Installation 
Wall mount bracket is shown as below. See Figure 3‑1.
[image: image20.jpg]Wall mount bracket

M6 inner hex stainless screw




Figure 3‑1
3.2 Installation 

3.2.1 Installation Requirements 

The wall mount speed dome can be installed in the hard construction wall in the indoor or outdoor environments.  Before the installation, please make sure:
· The wall is thick enough to install the expansion bolt. 

· The wall can at least sustain the 8x weight of the speed dome. 
3.2.2 Installation Steps 

1).Please draw four holes position in the wall according to the hole of the bottom of the wall mount bracket.  Then you can dig four holes and insert the expansion bolts (not provided). Use four hex bolts and flat washer to fix the bracket in the expansion bolts. See Figure 3‑2.

[image: image21.wmf]
Figure 3‑2
2). Install the speed dome in the bracket. Please refer to chapter 1.3 for detailed installation information. See Figure 3‑3.

[image: image22.wmf]
Figure 3‑3
4 CORNER MOUNT BRACKET INSTALLATION 
4.1 Component Installation 

Corner mount bracket and its components are shown as below. See Figure 4‑1.
[image: image23.png]


[image: image24.jpg]Wall mount bracket

M6 inner hex stainless screw




Figure 4‑1
4.2 Installation 

4.2.1 Installation Requirements 

The corner mount speed dome can be installed in the hard construction wall in the indoor or outdoor environments where there is a 90 degrees angle.  Before the installation, please make sure:

· The wall is thick enough to install the expansion bolt. 

· The wall can at least sustain the 8x weight of the speed dome. 

4.2.2 Installation Steps 

[image: image31.png]


1).Please draw four holes position in the wall according to the holes of the corner installation accessories. See Figure 4‑2.
[image: image32.png]


[image: image33.jpg]




Figure 4‑2
Then you can dig four holes and insert the M8 expansion bolts. Pull the power cable, video/control cable and the alarm cable (Please connect if necessary) through the centre hole of the bottom of the corner bracket, the waterproof adhesive, and the centre of the bracket. Please reserve the enough cable connection length and then use the M8 expansion bolt to secure the corer mount bracket chassis on the wall. 
2). Please refer to chapter 1.3 for detailed installation information. See Figure 4‑3.

[image: image25.wmf]
Figure 4‑3
5 POLE MOUNT BRACKET INSTALLATION 
5.1 Installation Components 

Pole mount bracket and its components are shown as below. See Figure 5‑1.
[image: image26.jpg]Wall mount bracket

M6 inner hex stainless screw




Figure 5‑1
5.2 Installation 

5.2.1 Installation Requirements 

The corner mount speed dome can be installed in the hard construction wall in the indoor or outdoor environments.  

Before the installation, please make sure the pole bracket can sustain the 8X weight of the speed dome. 

1). The diameter of the pole structure shall comply with the installation dimension of the clamp. Default factory clamp is six inches for the column of φ130-152mm. It can work with the pole installation bracket.  You can adjust the diameter and the value (clamp specification) is : φ59-82mm, φ84-108mm, φ103-127mm, φ130-152mm, φ155-178mm, φ180-203mm,φ194-216mm.

5.2.2 Installation Steps 
Step 1 Please refer to Figure 5‑2 to install clamp and pole bracket. 

Pull the cable out of the pole accessories and then use clamp to fix the pole accessories to the pole. Finally, you can use glass cement to the output hole to secure waterproof. 


Figure 5‑2
Step 2 Please refer to chapter 1.3 for detailed installation information. See Figure 5‑3 for the complete installation of Speed dome. 

[image: image27.wmf]
Figure 5‑3
6 APPENDIX Ⅰ THUNDER PROOF AND SURGE PROTECTION
This series speed dome adopts TVS lighting protection technology. It can effectively prevent damages from various pulse signals below 6000V, such as sudden lighting and surge. While maintaining your local electrical safety code, you still need to take necessary precaution measures when installing the speed dome in the outdoor environment.

· The distance between the signal transmission cable and high-voltage device (or high-voltage cable) shall be at least 50 meters.
· Outdoor cable layout shall go under the penthouse if possible.

· For vast land, please use sealing steel tube under the land to implement cable layout and connects one point to the earth. Open floor cable layout is forbidden.  

· In area of strong thunderstorm hit or near high sensitive voltage (such as near high-voltage transformer substation), you need to install additional high-power thunder protection device or lightning rod.

· The thunder protection and earth of the outdoor device and cable shall be considered in the building whole thunder protection and conform to your local national or industry standard.
· System shall adopt equal-potential wiring. The earth device shall meet anti-jamming and at the same time conforms to your local electrical safety code. The earth device shall not short circuit to N (neutral) line of high voltage power grid or mixed with other wires. When connect the system to the earth alone, the earth resistance shall not be more than 4Ω and earth cable cross-sectional area shall be below 25 mm². See Figure 6‑1.
[image: image28.jpg]Video Lightning Rod
Communication Lightning Rod —
Power Lightning Rod

GND wire resistance
shall be less than 4Q

Radius: 60m

Lightning Rod

The speed dome has to be installed within
both arcs of a circle whose radius is 60m and it
-.connects the top of lightning rod and ground.





Figure 6‑1
7 APPENDIX  Ⅱ ABOUT RS485 BUS
7.1 RS485 Bus Main Feature 

RS485 is semi duplex communication cable of impedance 120Ω. Its max load amount is 32 effective loads (including main control device and devices to be charged).

7.2 RS485 Bus Transmission Distance

When we take 0.56mm (24AWG) twisted-pair as communication cable, the max transmission distance (theoretically) are listed below (according to different baud rates).

	Baud Rate
	Max Distance

	2400 BPS
	1800M

	4800 BPS
	1200M

	9600 BPS
	800M


In the following situations, the max transmission distance shall become shorter accordingly:

· The communication cable is a little bit thin;
· The surrounding environment has strong electromagnetic interference;
· There are too much devices connected to the RS485 bus;

And vice versa, the max transmission distance shall become longer. 
7.3 The Problem in Practical Use
In practical usage, we usually adopt star type connection. The terminal resistance shall connect to the furthest two devices (Such as device 1# and device 15# in Figure 7‑1 ). But this connection way does not conform to RS485 Bus standard. When the distances between devices are too long, the signal reflection occurs and anti-jamming decreases, thus the signal reliability becomes very low. You can see speed dome is not under control or speed dome is running automatically and can not stop.

[image: image29.jpg]304

Main Control Device




Figure 7‑1
In this situation, we recommend RS485 distributor. This device can turn star type connection into the connection that conforms to RS485 bus industry standard, which can avoid the above mentioned problems and enhance communication reliability. See Figure 7‑2.

[image: image30.png]DR-EB16

12008

1200f]





Figure 7‑2
7.4 RS485 Bus FAQ

	Phenomenon 
	Possible Reasons
	Solution

	Speed dome can run self-diagnosis but I can not control it.
	· Host address(baud rate) and speed dome address(baud rate) are not match;

· Positive and negative end of RS485 Bus are misconnected;

· Connection cable is loose；

· RS485 Bus connection are cut off; 
	· Modify host or speed dome setup ；

· Switch RS485 positive end and negative end；

· Fix connection cable firmly；

· Replace RS485 Bus.

	I can control the speed dome but is not smooth
	· RS485 Bus connection are not good；

· One RS485 bus is off；

· The distance between host and speed dome is too far；

· Parallel connected too much speed domes.
	· Connect RS 485 Bus again；

· Replace RS485 Bus；

· Add terminal matching resistance；

· Add RS485 distributor.


Note

· This manual is for reference only. Slight difference may be found in the user interface.
· All the designs and software here are subject to change without prior written notice. 
· All trademarks and registered trademarks mentioned are the properties of their respective 
owners.
· If there is any uncertainty or controversy, please refer to the final explanation of us.

· Please visit our website or contact your local service engineer for more information.
























































































































































































































Clamp and pole bracket connection     Pole bracket and the pole connection 








Installation hole 



























































PAGE  
21

_1376478684.dwg

_1376481361.dwg

_1376480878.dwg

_1376475780.dwg

